Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

_______________________

_______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in repair and maintenance of “Johndeere” genset in Tinambac Water Treatment Plant.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply of Labor and Materials for repair/overhaul of genset (Johndeere) 50 KVA 3 phase in Tinambac Water Treatment Plant. Item#1: Engine Repair - Replacement of diesel day tank - Repair/overhaul of radiator assy. - Repair of exhaust pipe manifold & muffler Item#2: Alternator Repair Assy. - Rewinding/repair of stator winding of alternator assy. - Replacement of auto voltage regulator and diode assy. - Check-up/repair of electrical wiring connection and controls and genset electrical control panel. | 1 | lot |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________