Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

_______________________

_______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in rehabilitation of 125KVA “Johndeere” Genset in Garchitorena Water Treatment Plant.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply of Labor and Materials for repair and maintenance of 125KVA, 440VAC, 3Phase “Johndeere” genset in Garchitorena Water Treatment Plant. Scope of Work: Item 1: Rewinding/repair of alternator assy. Brand/model: Leroy Somer/125 KVA - Disconnect power cable from MTS to genset & electrical wiring to genset control panel. - Dismantling of alternator assy. From gen. set including main rotor, stator & exciter assy. - Cleaning/inspection of main stator, rotor, exciter windings including rectifier. - Rewinding, re-insulation, re-varnish, baking & oven-dry stator, rotor & exciter winding. - Re-assy. Of alternator assy., re-install control panel assy. including electrical wiring connection. - Replacement of auto voltage regulator (AVR) L/S R238, diode assy., & other component parts. - Repair of alternator-battery charging system & provide electrical monitoring gauges. - Test run genset with & without load & check operational performance. ITEM 1: Repair/Maintenance of main engine Brand/Model: Johndeere/4045HF150 - Clean/inspection of engine & component parts. - Repair/overhaul of radiator assy. including replacement of radiator hose - Replacement of worn out engine support - Change oil and oil filter - Test run engine w/out load and with load @ 40% & 80% gen. set rating capacity. | 1 | lot |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________