Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

_______________________

_______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in installation of additional intake pipe assy. for river intake system in Presentacion WTP.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply of labor, materials and equipment for installation of additional intake pipe assy. in Presentacion Water Treatment Plant. - Pipes & Fittings: 8 pcs. UPVC Pipe, 150 mm, S-8 6-pcs. UPVC Pipe, 200 mm, S-8 2 pcs. UPVC Elbow, 150mm x 90 deg. 3 pcs. UPVC Tee, 150 x 150mm 1 pc. UPVC Tee, 200 x 150mm 2 pcs. Sleeve Type Coupling, 150mm 1 pc. Sleeve Type Coupling, 200mm 5 mtrs. Neoprene gasket (3/8” x 1.0 mtr. Width) - Construction/Hardware Materials 5 ps. Reinf. Steel bar, RSB, 12 mm 10 bags cement 2 cu.m. sand 15 cu.m. gravel 10 cu.m. boulder 20 pcs. Plywood, ordinary, ¼” 50 pcs. Coco lumber, 2”x2”x12” 5 kg. assorted nails 5 kg. tie wire - Equipment 1 unit backhoe (excavation/cofferdamming) 2 units dewatering pumps (dewater work area) Scope of Work: Labor: - Sand bagging/hauling materials - Construction of formworks - Fabrication of perforated intake pipe assy. - Installation of intake pipe assy. Engineering: - Survey of pipe intake pipe location & elevation - Planning/design of intake pipe installation - Supervision & monitoring. | 1 1 1 1 | Lot Lot Lot lot |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________