Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

_______________________

_______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in additional pipelines at Camagong rossing to Camagong Pror with length of 1440 meters.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply of labor, materials & equipment for pipelaying works at Camagong crossing to Camagong proper w/ length of 1440 meters, and 2 in diameter distribution lines. Materials: PE Pipe 2” dia SDR 11 Compression Fitting 2” diameter C.I. Gate Valve 2” diameter G.I. pipe 2” diameter G.I. End cap 2” diameter Dresser coupling 2” diameter Air release Valve Assy w/ over Valve box cover Cement Sand Gravel Labor: Concrete cutting & pavement demolition, excavation, pipelaying, tapping, backfilling & restoration | 1 | lot |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________