Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

_______________________

_______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in stock inventory/spare units for motor controls @ MCC panel in Lagonoy, Caramoan, Presentacion & Garchitorena WTP.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 2 3 4 5 | Thermal Circuit Breaker, 20-25 amp., ABB/MS132-25 Auxillary Contact, 1-No/1-NC, ABB/HK1-11 Magnetic Contator, 220V, ABB/A26-30-10 Magnetic Contactor, 220 V, ABB/AX32-30-10 Magnetic Contactor, 220 V, ABB/AX9-30-10 | 5 5 10 10 10 | Pcs. Pcs. Pcs. Pcs. Pcs. |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________