Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

_______________________

_______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in stok inventory/spare units for raw water pumps in Lagonoy, Caramoan, Presentacion & Garchitorena WTP.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 2 3 4 | SUBMERSIBLE PUMP, Grundfos/SP 17-2, 18 M3/Hr Rated Cap., 25 meter head, 2-1/2” dia. Pump disch. 3470 RPM coupled w/ submersible motor, MS 4000 “Franklin” 3 HP, 3 Phase, 440 VAC, 60 Hz SUBMERSIBLE PUMP, Grundfos/SP 30-2, 36 M3/Hr rated cap., 20 meter head, 3.0” dia. Pump dish. 3470 RPM coupled w/ submersible motor, MS 4000 “Franklin” 5.5 HP, 3 Phase, 440 VAC, 60 Hz SUBMERSIBLE PUMP, Grundfos/SP 30-3, 25 M3/Hr rated ap., 40 meter head, 3.0” dia. Pump disch. 3470 RPM coupled w/ submersible motor, MS 4000 “Franklin” 5.5 HP, 3 phase, 440 VAC, 60Hz SUBMERSIBLE PUMP, Grundfos/SP 60-4, 57.5 M3/Hr rated cap., 35 meter head, 4.0” dia. Pump disch. 3470 RPM coupled w/ submersible motor, MS 6000 “Franklin” 15HP, 3 phase, 440 VAC, 60 Hz | 1 2 1 1 | Unit Unit Unit unit |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________