Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

______________________

_______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in treated water pump pipe discharged connection in Lagonoy & Caramoan Water Treatment Plant.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 2 | Bonnet and Disc Assy., Flanged Swing Checked Valve, DN 80, PN 10 bars, Flanged Std. ISO 7005-2/DIN 2501 Bonnet and Disc Assy., Flanged Swing Checked Valve, DN 100, PN 10 bars, flanged STD. ISO 7005-2/DIN 2501 | 4 6 | Pcs. Pcs. |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________