Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

______________________

______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in rehabilitation and improvement of standby genset in Presentacion WTP.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
|  | Supply of Labor and materials for rehabilitation & improvement of 125KVA “Johndeere” genset in Presentacion WTP Parts to be supplied: - Frequency Meter (Analog) 440 volts - AVR, Leroy Somer 230 - Auto Trickle Battery Charger, 12volts - Miniature Breaker, DIN Rail, 2-pole, 10amps - Power relay w/ base, 12 volts - Electrical supplies/consumables (tape, bots & nuts, wiring harness, etc. Scope of Work: - Rehabilitation of auto battery charging system - Improvement of frequency monitor/panel - Replacement of defective AVR & wiring connection - Improvement of electrical wiring system - Test run genset with/without load | 1 1 1 1 2 1 1 | Lot Pc Pc Pc Pcs Lot lot |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________