Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

______________________

______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in repair and maintenance of MCC panel underground electrical wiring to raw water pumps in Lagonoy WTP.

| ITEM# | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 2 3 | Supply of Labor, Materials and Equipment for Installation of Overhead Electrical wiring at MCC Panel to raw water pumps (RW#1, RW#4 & RW#5) in Lagonoy WTP. MATERIALS: Electrical wire, royal cord, #8/3c Electrical conduit pipe, 1” dia. Terminal block w/ enclosure PVC glue Silicon sealant Angle Bar 1” x 1” STD. Flat Bar 1” x 3/16” STD Welding Rod Cutting Disc 4” Epoxy Primer QDE (Silver/Aluminum) Paint Thinner LABOR (SCOPE OF WORK) - Fabrication/installation of overhead electrical cable tray (MCC Panel to raw water pumps) - Overhead electrical wiring installation and termination MCC Panel & raw water pumps (terminal/junction block) EQUIPMENT RENTAL 1 unit welding machine | 1 | lot |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________