Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

______________________

______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in installation of additional intake pipe assy. in Presentacion WTP.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply of labor, materials and equipment for the installation of additional intake pipe assy. in Presentacion WTP - Pipes & Fittings UPVC Pipe, 150mm, S-8 UPVC Pipe, 200mm, S-8 Mechanical Elbow, 150mm x 90 deg. Mechanical Tee, 150mm x 150mm Mechanical Tee, 200mm x 150mm Sleeve Type Coupling, 150mm Sleeve Type Coupling, 200mm Neoprene Gasket (3/8” x 1.0 mtr.) - Construction Hardware Reinf. Steel bar, RSB, 12mm Cement Sand Gravel Boulder Plywood, ordinary, ¼” Coco lumber, 2”x2”x12” Assorted nails Tire wire - Equipment Rental 1 unit backhoe (excavation/coffer damming) 2 dewatering pumps, 4x4 - Labor (Scope of Work) - Sandbagging/hauling of materials - Construction of formworks - Fabrication of perforated intake pipe assy. - Installation of intake pipe assy. - Engineering Supervision - Survey intake pipe location/elevation - Planning/design of intake pipe assy - Supervision/monitoring | 1 | lot |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________