Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

______________________

______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in repair and maintenance  of  ATS Panel Electrical Wiring System in Caramoan.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply of Labor and Materials for Improvement of ATS Panel Electrical Wiring System in Caramoan Water Treatment Plant Materials/Parts to be Supplied: Magnetic Contactor, Telemecanique, LCF1265 4-pole, 300 AMP, 440 VAC Under/over voltage monitor w/ base Power Supply w/ base, 4-pole, 440VAC Timer-Relay with base Miniature circuit breaker, 3-pole Miniature circuit breaker, 2-pole On/off selector switch Mounting plate Electrical supplies/consumables (elec. Wires, wiring harness, socket, insulators, etc.) Labor (Scope of Work): - Disconnect existing wiring system of ATS - Installation of revised electrical wiring system/connection to ATS - Replacement/installation of ATS Elec. Control supplies and consumables - Testing & monitoring of operational performance of revised electrical wiring system w/ CASURECO & genset power | 1 1 1 1 3 1 1 1 1 1 | lot Piece Piece Piece Pieces Piece Piece Piece Assy Lot |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________