Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

______________________

______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in spare units for raw water pump use in Lagonoy, Presentacion, Garchitorena & Caramoan Water Treatment Plants.

| ITEM # | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 | SUBMERSIBLE PUMP “GRUNDFOS” SP 17-2, 18 M3/Hr rated cap. @ 25 meter head, 2-1/2” dia. Discharge threaded conn. Coupled to submersible motor, “Franklin” MS 4000, 3 HP, 3 phase, 440 VAC, 60hz 3470 RPM W/ minimum 7 mtr. Submersible lead wire SUBMERSIBLE PUMP “GRUNDFOS” SP 30-3, 25 M3/Hr rated cap. @ 40 mtr. Head, 3” dia. Discharge threaded conn. Coupled to submersible motor, “Franklin” MS 4000, 5.5 HP, 3 Phase, 440 VAC, 60 Hz 3470 RPM w/ min 7 mtr. Submersible lead wire SUBMERSIBLE MOTOR “Franklin” MS 4000, 5.5 HP, 3 Phase, 440 VAC, 60 Hz, 3470 RPM w/ min. 7 mtr lead wire (for sub pump “Grundfos” SP 30-2) SUBMERSIBLE MOTOR “Franklin” MS 6000, 15 HP, 3 Phase, 440 VAC, 60 Hz, 3470 RPM w/ min. 7 mtr. Lead wire (for sub. Pump “Grundfos” SP 60-4) | 1 1 4 2 | Unit Unit Unit unit |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________