Republic of thePhilippines

PARTIDO DEVELOPMENT ADMINISTRATION

Created Under R.A. 7820

Tigaon, Camarines Sur

____________ , 20 _____

PRICE QUOTATION

______________________

______________________

Sir/Madam:

Please quote your prices of the following articles which this office desire to purchase for use in improvement of treated water pump in Caramoan WTP.

|  | PARTICULARS | QTY. | UNIT | UNIT COST | TOTAL COST |
| --- | --- | --- | --- | --- | --- |
| 1 | SUPPLY, DELIVERY & INSTALLATION OF (2) UNITS BRAND NEW PUMPS & MOTOR FOR TREATED WATER PUMPS IN CARAMOAN WTP ITEM#1: PUMPS, MOTORS & APPURTENANCES Centrifugal End Suction Pump “Grundfos” Model NKG-32-200, 36-40 M3/Hr rated cap., 40 mtr head, DN 5-/32 suction/discharge, coupled to elec. Motor, 15HP, 440 VAC, 3 Ph, 60 Hz, 1750 RPM mounted on common base plate Eccentric reducer, DN 50x3” & DN 32x3” w/ BNG Flange on suction & discharge & lovejoy motor-pump coupling connection ITEM #2: LABOR, MATERIALS & EQUIPMENT - Hardware supplies 8 pcs. angle bar, 2” x 2” x ¼” (STD.) 6 pcs. Flat bar, 2” x 2” x ¼” (STD.) 5 kgs welding rod 2 pcs cutting disc 4 pcs hacksaw blade 4 bags cement 10 bags sand - Labor & equipment 1 welder/fabricator 1 pipe welder 1 skilled labor (carpentry/masonry) 2 labor/helper 1 unit welding machine 1 unit oxy-acetylene cutting outfir SCOPE OF WORK: - Installation/mounting of 2 units pumps including appurtenances to existing treated water pumps piping system - Rehab/re-enforced existing elevated concrete flatform/base for 2 units pumps & motor | 1 2 2 | Lot Unit set |  |  |

Dealer:		______________________________________

TIN: VAT#:	______________________________________ NON-VAT#:_____________________

Address:	______________________________________

Telephone No.:	______________________________________

Contact Person:	______________________________________

Canvasser:	______________________________________

Sir/Madam:

I have the honor to offer my prices for each of the above articles as indicated after each item hereon.

Very truly yours

______________________